Annex 2: Questions 2

Additional market consultation

Subject: Provision of modular units and associated services for EUAA, Reference number: EUAA/MLA/2025/OP/0006

To facilitate the task below, you may find attached to this Annex 2:

- Build to order file, where the three (3) types of prefabricated units requested are provided in respective drawings; dimensions are marked only for the fixed elements (e.g. internal space, awnings) and dimensions of wall thickness, staircase width and steel members, ramp for people with mobility limitations etc. are variable according to the construction legislation of each country. For the current cost estimation request, please consider all dimensioning based on compliance standards of the abovementioned countries.

- Technical specifications document, on the elements to be taken into account when calculating the estimated pricing of the prefabricated unit (container type).

Kindly note that the technical specifications and prototypes are applicable for the calculation of both supply and installation and for leasing prices.

TABLE 1

Instruction: Please provide indicative pricing (in EUR, VAT exclusive) for the supply and installation of each of the three (3) types of furnished prefabricated modular units (container type). Each price should cover delivery to each of the following locations:

| Country of delivery of the unit | Type of modular unit |  |  |
| --- | --- | --- | --- |
|  | Accommodation unit | Sanitary unit | Office and educational complex of 2 combined units |
| Malta |  |  |  |
| Belgium |  |  |  |
| Bulgaria |  |  |  |
| Cyprus |  |  |  |
| Greece (mainland) |  |  |  |
| Greece (islands) |  |  |  |
| Germany |  |  |  |
| Italy (mainland) |  |  |  |
| Italy (islands) |  |  |  |
| Romania |  |  |  |
| Spain (mainland) |  |  |  |
| Spain (islands) |  |  |  |
| The Netherlands |  |  |  |

TABLE 2

Instruction: Please provide indicative pricing (in EUR, VAT exclusive) for the supply and installation of each of the two (2) types of unfurnished modular units (container type). Each price should cover delivery to each of the following locations:

| Country of delivery of the unit | Type of modular unit |  |
| --- | --- | --- |
|  | Accommodation unit | Office and educational complex of 2 combined units |
| Malta |  |  |
| Belgium |  |  |
| Bulgaria |  |  |
| Cyprus |  |  |
| Greece (mainland) |  |  |
| Greece (islands) |  |  |
| Germany |  |  |
| Italy (mainland) |  |  |
| Italy (islands) |  |  |
| Romania |  |  |
| Spain (mainland) |  |  |
| Spain (islands) |  |  |
| The Netherlands |  |  |

TABLE 3

Instruction: please provide indicative pricing (in EUA, VAT excusive) for the additional services.

Pre-installation works:

Preparatory works for the installation of the said containers e.g., ground works, cement basis/concrete casting, as these are associated to the specific containers. More specifically, the soil formation works are surface grubbing, compacting and levelling a relatively flat ground. Execution of such works involve only minimal excavator machinery in localised areas, namely covering the area under and around each Unit’s outline. The total soil formation surface area shall be exceeding the Unit’s external perimeter by reasonable width of 1m.

The final structural dimensioning will be according to each case specifics. Indicatively, a ground slab of 15cm concrete thickness or 3 reinforced concrete beams of at least 25 cm height and width of cross-section and 3m length (corresponding to the Unit’s width) are expected to be sufficient on typical stable soil conditions. As already mentioned, the reinforced concrete elements are expected to be verified by the relevant structural engineering study in accordance with Eurocodes and national Regulations, same as all structural bearing elements of the Unit’s structure and anchorage elements.

Connection Works to Utility Networks

Water supply :  Supply and installation of PPR pipe system (Ø 25mm) and accessories from the local water supplier to the containers when applicable (facility rooms / restrooms / accommodation facilities / kitchen facilities), max 50 meters, installed underground or protected with C15 concrete.

Sewage system: Supply and installation of PVC pipe system (Ø 50mm & 110mm PN6) and accessories from the local sewage system to the containers when applicable (facility rooms / restrooms / accommodation facilities / kitchen facilities), max 50 meters installed underground or protected with C15 concrete.

Electric supply : Supply and installation of Electrical Cable type (3 X 4mm XLPE, PVC, SWA 1KV) and accessories from the local Electrical Supplier to the containers (outdoors or underground) when applicable, max 100 meters.

Data supply : Supply and installation of ethernet cable supply type (Cat 6A) including accessories and conduits, from the local DATA Supplier to the containers (outdoors or underground) when applicable, max 100 meters.

Fencing: Supply and installation of Vinyl coated fence, colours black or green, the vinyl coating thoroughly coats the entire mesh, sealing it against rust and corrosion. Mesh size: 50 × 50 mm. Surface treatment: PVC dark green coating. Wire diameter: 3.76 mm. High: 2.40meters, including galvanized poles and 2 (two) pedestrian gates and 1 (One) Car Gate per site.

Rainwater drainage: Supply and installation of PVC pipe system (Ø 110mm PN6) and accessories: Rain Drainage System (drainage piping) includes all the piping within public or private premises, which conveys rainwater, wastes to a legal point of disposal, meaning the mains of a public sewer system or a private or public sewage treatment or disposal plant. Max 50 meters.

Kindly note that since to up to three (3) meters away from the containers, the connections to the utility networks are included in the Unit price that we you have already shared, the above provisions refer to connection works beyond three meters and up to 100 meters.

| Type of service |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Country of the unit |  | Dismantling, removal and waste disposal (per container) |  | Transport for transfer of the whole Unit or in dismantled parts (km/per container) |  |  | Decommission and removal (per container) |  |  | Re-assembly/re-installation (per container) |  |
| Malta |  |  |  |  |  |  |  |  |  |  |  |
| Belgium |  |  |  |  |  |  |  |  |  |  |  |
| Bulgaria |  |  |  |  |  |  |  |  |  |  |  |
| Cyprus |  |  |  |  |  |  |  |  |  |  |  |
| Greece (mainland) |  |  |  |  |  |  |  |  |  |  |  |
| Greece (islands) |  |  |  |  |  |  |  |  |  |  |  |
| Germany |  |  |  |  |  |  |  |  |  |  |  |
| Italy (mainland) |  |  |  |  |  |  |  |  |  |  |  |
| Italy (islands) |  |  |  |  |  |  |  |  |  |  |  |
| Romania |  |  |  |  |  |  |  |  |  |  |  |
| Spain (mainland) |  |  |  |  |  |  |  |  |  |  |  |
| Spain (islands) |  |  |  |  |  |  |  |  |  |  |  |
| The Netherlands |  |  |  |  |  |  |  |  |  |  |  |
| Preparatory works /Connection Works to Utility Networks |  |  |  |  |  |  |  |  |  |  |  |
| Country of the unit | Reinforced Concrete base (slab or beams for the area of the Unit) (item) |  | Water supply (linear meter) |  | Sewage supply (liner meter) | Electric supply (liner meter) |  | Data supply (liner meter) | Fencing (liner meter) |  | Rain drainage (liner meter) |
| Malta |  |  |  |  |  |  |  |  |  |  |  |
| Belgium |  |  |  |  |  |  |  |  |  |  |  |
| Bulgaria |  |  |  |  |  |  |  |  |  |  |  |
| Cyprus |  |  |  |  |  |  |  |  |  |  |  |
| Greece (mainland) |  |  |  |  |  |  |  |  |  |  |  |
| Greece (islands) |  |  |  |  |  |  |  |  |  |  |  |
| Germany |  |  |  |  |  |  |  |  |  |  |  |
| Italy (mainland) |  |  |  |  |  |  |  |  |  |  |  |
| Italy (islands) |  |  |  |  |  |  |  |  |  |  |  |
| Romania |  |  |  |  |  |  |  |  |  |  |  |
| Spain (mainland) |  |  |  |  |  |  |  |  |  |  |  |
| Spain (islands) |  |  |  |  |  |  |  |  |  |  |  |
| The Netherlands |  |  |  |  |  |  |  |  |  |  |  |

TABLE 4

Instruction: Please provide indicative pricing (in EUR, VAT exclusive) for the leasing of each of the three (3) types of prefabricated fully equipped and operational modular units (container type) for both short-term leasing (first table) and long-term leasing (second table).

For each modular unit type, include the all-inclusive monthly leasing price per prefabricated modular unit. The leasing price shall include all the associated services for the complete installation of the fully equipped and functional modular unit to the assigned location, such the localised site works for the necessary utility network connections. It shall also cover all transportation costs in mainland or islands across Europe.

The mode of assembly (either in parts and assembled on-site, or transported as a complete modular unit) shall not differentiate any of the transportation and installation costs.

The leasing price shall cover all necessary dismantling and removal services for the decommissioning of the modular unit, once the leasing on the certain location is terminated. The possible waste disposal, transportation of the complete unit or its dismantled parts shall also be included.

Maintenance services shall be included in the leasing price during the whole duration of the rental period for all preventive and corrective tasks related to the modular unit’s full functionality, such as regular inspections and servicing of devices, equipment, electrical and plumbing installation, in order to rectify damages, prevent failures and maintain optimal performance. As long as these damages do not result from end-users deliberate action of misuse/ breakage, the repair/ replacement costs are all inclusive using only approved spare parts and materials. The Supplier shall ensure reasonable response times and co-ordinate closely with the Client (EUAA) to schedule efficiently all maintenance related tasks as described above.

Finally, please add separately the cost of reinstallation per kilometre per modular unit in the case that the decommissioning from one location requests the renewal of the leasing to another location within the same EU country.

| < 6 months – short-term lease |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Country of the unit | Type of Modular Unit |  |  |  |  |  |  |  |  |
|  | Accommodation Unit |  |  | Sanitary Unit |  |  | Office and educational complex of 2 combined units |  |  |
|  | All-Inclusive Monthly Leasing (Price) |  | Reinstallation (EUR/ per km) | All-Inclusive Monthly Leasing (Price) |  | Reinstallation (EUR/ per km) | All-Inclusive Monthly Leasing (Price) | Reinstallation (EUR/ per km) |  |
| Malta |  |  |  |  |  |  |  |  |  |
| Belgium |  |  |  |  |  |  |  |  |  |
| Bulgaria |  |  |  |  |  |  |  |  |  |
| Cyprus |  |  |  |  |  |  |  |  |  |
| Greece (mainland) |  |  |  |  |  |  |  |  |  |
| Greece (islands) |  |  |  |  |  |  |  |  |  |
| Germany |  |  |  |  |  |  |  |  |  |
| Italy (mainland) |  |  |  |  |  |  |  |  |  |
| Italy (islands) |  |  |  |  |  |  |  |  |  |
| Romania |  |  |  |  |  |  |  |  |  |
| Spain (mainland) |  |  |  |  |  |  |  |  |  |
| Spain (islands) |  |  |  |  |  |  |  |  |  |
| The Netherlands |  |  |  |  |  |  |  |  |  |

| > 6 months – long-term lease |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Type of Modular Unit |  |  |  |  |  |  |  |  |
| Country of the unit | Accommodation Unit |  |  | Sanitary Unit |  |  | Office and educational complex of 2 combined units |  |  |
|  | All-Inclusive Monthly Leasing (Price) |  | Reinstallation (EUR/ per km) | All-Inclusive Monthly Leasing (Price) |  | Reinstallation (EUR/ per km) | All-Inclusive Monthly Leasing (Price) | Reinstallation (EUR/ per km) |  |
| Malta |  |  |  |  |  |  |  |  |  |
| Belgium |  |  |  |  |  |  |  |  |  |
| Bulgaria |  |  |  |  |  |  |  |  |  |
| Cyprus |  |  |  |  |  |  |  |  |  |
| Greece (mainland) |  |  |  |  |  |  |  |  |  |
| Greece (islands) |  |  |  |  |  |  |  |  |  |
| Germany |  |  |  |  |  |  |  |  |  |
| Italy (mainland) |  |  |  |  |  |  |  |  |  |
| Italy (islands) |  |  |  |  |  |  |  |  |  |
| Romania |  |  |  |  |  |  |  |  |  |
| Spain (mainland) |  |  |  |  |  |  |  |  |  |
| Spain (islands) |  |  |  |  |  |  |  |  |  |
| The Netherlands |  |  |  |  |  |  |  |  |  |